## Slide 1: The 30th aniversary of LTD
Low Temperature Detectors
( for Neutrinos and Dark Matter )
30 Years ago,

## Slide 2
LTD 1 Ringberg Castle 1987
E.Fiorini
T. Niinikoski
W.Seidel
L.Stodolski

## Slide 3
LTD1 Ringberg Castle

## Slide 6
T.Niinikoski
Wisconsin 2010

## Slide 8
Cryo detectors for coherent neutral current scattering off nuclei
Applications: spallation source
reactor-
Supernova-
Solar
terestrial - neutrinos
1984

## Slide 9
Metastabel suoerconducting grains
In magnetic field
Sensitiv to energy deposition of 1-100eV ?
Super conducting
Normal conducting
Detection of grain flip via magnetic inductance

## Slide 10
Supernova 1987a
V- signal detected
From SN1987a
mv < 30 eV

## Slide 11
1993
Alpha
Beta
Gamma
X-rays
Darc matter
ßß0v decay
ß endpoint

## Slide 12
Ettore Fiorini LTD15

## Slide 13: Thermometers

## Slide 14
Thermometers
NTD resistive thermometers
TES super conducting Transition Edge Sensor
MMC Magnetig Micro Calorimeter
Hybrid calorimeters
Heat- ionisation
Heat- scintillation light
Position sensitiv
Fiducial volume by
techniques
Electric field distribution
active housing
Fiducial volume by

## Slide 15
1984
Systematic test of thermal
detectors, test of theoretical
Calculations
D. Mc Cammon

## Slide 16
Construction and flights late 1980th

## Slide 19
G. Angloher 2001

## Slide 20
G. Angloher 2001

## Slide 21: EDS with Microcalorimeters
Usage of Microcalorimeters on Scanning Electron Microscopes (SEM) for determination of elemental constitution of samples
C. Hollerith1, M. Bühler³, F. v. Feilitzsch1, J. Höhne³,C. Isaila, M. Huber1,J. Jochum1, K. Phelan3, B. Simmnacher², R. Weiland², D. Wernicke1,3,
1:Physik-Department E15, TU München, James-Franck-Straße, 85747 Garching
2: Infineon Technologies AG, Otto-Hahn-Ring 6, 81739 München
3: VeriCold Technologies GmbH, Bahnhofstr. 21, 85757 Ismaning
2006

## Slide 22
Si(Li), cryogenic detector
incident electron beam
X-rays
sample
What is
Energy
Dispersive X-Ray
Spectroscopy?
Measurement of characteristic X-ray energy in SEMs (scanning electron microscopes)
Information on elemental constitution of sample

## Slide 23
SQUID
Rdetector
RS
L
IO
 R
T
Setup / Principle of Microcalorimeter
Au - Absorber (250µm x 250µm x 0.5µm)
Ir/Au - Thermometer (400µm x 400µm)
SiN-
membrane
Aperture (200µm x 200µm)
X-ray
Transition Ir/Au proximity- film
Detector response
at absorption of a X-ray
Read out circuit

## Slide 24
Countrate
Installation of a polycapillary lens
Increase of solid angle due to greater area (A=12 mm2)
and lower distance (d=9 mm)
Working principle:
thin, curved glass capillaries form two focal spots on sample and detector
Snout with lens in SEM

## Slide 25
EDS element identification on electron microscope picture

## Slide 26
5 keV
Elektronenstrahl
Si-Substrat
625 nm SiO2
10 nm TiO2
100 nm Pt
180 nm SrBi2Ta2O9
Spektrum @ Vacc = 5 keV
Anwendungsbeispiele: Dünne Schichten
Analyse dünner Schichten
Probe: SrBi2Ta2O9 (SBT) / Pt / TiO2 / SiO2 / Si -Substrat

## Slide 27
Neutrino physics
Neutrino mass,
Paricle-antiparticle identity ßß0v decay
1981
resonance
A. De Rujula

## Slide 28
3 proposals for 163 Ho exp
ECHo, Holms (2015), Numecs (2014)
Direct search for neutrino mass

## Slide 29
ECHo and the electron neutrino mass
Statistics in the end point region
Nev > 1014 → A ≈ 1 MBq
Precision characterization of the endpoint region
EFWHM < 3 eV
Unresolved pile-up (fpu ~ a  r)
fpu < 10-5
r < 1 µs  a ~ 10 Bq
105 pixels
Background level
< 10-6 events/eV/det/day
fpu = 10-6 EFWHM = 2 eV
n
p
p
p
n
n
e-
e-
e-
e-
n
p
p
p
n
n
n
e-
e-
p
e-
e-
e-

## Slide 30
Structures due to higher order excitations
Independent
determination
of QEC
High purity 163Ho source
production and purification
Microwave SQUID multiplexing for large MMC arrays
Dedicated cryogenic platform
Identification and suppression
of background sources
Theoretical description
of the 163Ho EC spectrum
Analysis tools to extract
the electron neutrino mass

## Slide 31
Ion beamimplantation of Ho

## Slide 32
Mare 2006 187 Re ß-decay
Mare1 mv < 2 eV 300 detectors
Mare 2 mv < 0,2 ev several 1000 detectors
Sensors: doped Si thermistor
TES Ir/Au multilayer transition edge

## Slide 33
2006

## Slide 41
congratulation

## Slide 42: Potential of Cryogenic Detectors
Why are cryogenic detectors particularly sensitive to low-mass WIMPs ?
Low energy threshold
lower WIMP mass
1 GeV/c2
10 GeV/c2
100 GeV/c2
Ge
for darc matter search

## Slide 43
Raimund Straus

## Slide 44: E.Fiorini LTD15

## Slide 46
superCDMS at SOW Lab

## Slide 48
Charge –heat-position

## Slide 49: The CRESST Experiment Cryogenic Rare Event Search with Superconducting Thermometers
LNGS
CRESST
sala A
CRESST-Testcryostat
truck tunnel
Detector “Carousel”
up to 33 individual CRESST modules

## Slide 50
280g Al2O3 detector Dr Arb. W. Seidel
largest cryodet at the time
Test of energy flow and linearity
1989
First DM Detector^ for CRESST
CRESST
Optimized for low WIMP mass: Al, O target

## Slide 51: CRESST – Multi-Element Target
Example:
CaWO4 target
Threshold: 12keV
Cross-section: 1pb

## Slide 52: Recent Exciting Progress at TUM
First steps in chemical purification of CaCO3 powder:
Measurements indicate purification
  Th contamination decreased by factor 2-7
  U contamination decreased by factor 15-35
Crystal growth successful
Two new crystals implemented in CRESST-III phase 1 !
Raw ingot enough for 3-4 CRESST-III detectors
30mm
work by H.H. Trinh Thi, A. Münster, A. Erb

## Slide 53: Radiopurity of CaWO4 Crystals
Average rate:
~3.5 counts / [kg keV day]
Excellent resolution:
𝜎 ≈ 90eV
Threshold:
Eth ≈ 603eV
(Nuclear-recoil energy directly measured!)
CaWO4-crystal production at TU Munich
Unprecedented radiopurity (by factor 2-10)
raw ingot of m≈1kg
commercial crystal
TUM-40
179Ta L1(EC)
227Ac
210Pb
A. Erb et al., CrystEngComm 15(2013)12

## Slide 54
Light
detector
Phonon
detector
F. Probst

## Slide 55: Phonon-Light Technique
light
phonon
e-/γ
neutrons
Reduced light output for highly-ionizing particles Quenching
phonon
light yield

## Slide 56: CRESST-III: Low-Mass Dark Matter Search
Straight-forward approach: CRESST-III Phase 1
Scale down size by factor 10
Status quo
m = 250g
V = 32x32x40 mm3
m=24g
Phonon threshold: Eth ≲ 500eV improvement by a factor of 5-10
Light-detector res.: 𝜎 ≈ 5 eV improvement by a factor of 2
F. Pröbst

## Slide 58: CRESST-III Phase 2
CRESST-II Phase 2
CRESST-III Phase 2 projection
100 x 24g detectors of improved quality operated for 2 years ≈ 1000 kg-days (net)

## Slide 59
R.Straus
Coherent neutrino nucleus scattering
crossection σ ̴ G²/ 4π N² (Eν)²
N number of neutrons in the nucleus

## Slide 61
See presentation Raimund Straus this conference

## Slide 62: Study of 3 different sites
Medium case (40m)
Straight forward in terms of:
experimental site
signal rate
background level
 Discovery within 2 weeks

## Slide 63
Congratulations to the scientists working in the field
LTD 1: ca 30 paricipants
LTD17: ca 300 participants
Exiting development !